# 1 Structure Data

This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.

## 1.1 Story Data

Table 1.1 - Story Data

| Name | Height m | Elevation m | Master Story | Similar To | Splice Story |
| --- | --- | --- | --- | --- | --- |
| Story3 | 3.3 | 7.6 | No | None | No |
| Story2 | 4.3 | 4.3 | No | None | No |
| Story1 | 2.5 | 0 | No | None | No |
| Base | 0 | -2.5 | No | None | No |

## 1.2 Grid Data

Table 1.2 - Grid Systems

| Name | Type | Story Range | X Origin m | Y Origin m | Rotation deg | Bubble Size m | Color |
| --- | --- | --- | --- | --- | --- | --- | --- |
| G1 | Cartesian | Default | 0 | 0 | 0 | 1.25 | ffa0a0a0 |

Table 1.3 - Grid Lines

| Grid System | Grid Direction | Grid ID | Visible | Bubble Location | Ordinate m |
| --- | --- | --- | --- | --- | --- |
| G1 | X | 1 | Yes | End | 0 |
| G1 | X | 2 | Yes | End | 5 |
| G1 | X | 3 | Yes | End | 7.65 |
| G1 | Y | D | Yes | Start | 0 |
| G1 | Y | C | Yes | Start | 4.5 |
| G1 | Y | B | Yes | Start | 9.4 |
| G1 | Y | A | Yes | Start | 13.2 |

## 1.3 Mass

Table 1.4 - Mass Source

| Name | Include Elements | Include Added Mass | Include Loads | Include Lateral | Include Vertical | Lump at Stories | IsDefault | Load Pattern | Multiplier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Dead | 1 |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Live | 0.2 |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Snow | 0.2 |
| MsSrc1 | No | No | Yes | Yes | No | Yes | Yes | Mass | 1 |

Table 1.5 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | XCM m | YCM m | Cumulative X kgf-s²/m | Cumulative Y kgf-s²/m | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story3 | D1 | 7964.72 | 7964.72 | 3.4602 | 7.1715 | 7964.72 | 7964.72 | 3.4602 | 7.1715 | 3.7166 | 7.8742 |
| Story2 | D1 | 8528.32 | 8528.32 | 3.5632 | 6.9102 | 16493.04 | 16493.04 | 3.5134 | 7.0364 | 3.7089 | 7.9807 |
| Story1 | D1 | 4256.69 | 4256.69 | 3.8532 | 11.4582 | 20749.73 | 20749.73 | 3.5831 | 7.9435 | 3.9041 | 10.5966 |

Table 1.6 - Mass Summary by Diaphragm

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | Mass Moment of Inertia kgf-m-s² | X Mass Center m | Y Mass Center m |
| --- | --- | --- | --- | --- | --- | --- |
| Story3 | D1 | 7964.72 | 7964.72 | 216248.47 | 3.4602 | 7.1715 |
| Story2 | D1 | 8528.32 | 8528.32 | 225743.1 | 3.5632 | 6.9102 |
| Story1 | D1 | 4256.69 | 4256.69 | 51935.7 | 3.8532 | 11.4582 |

Table 1.7 - Mass Summary by Story

| Story | UX kgf-s²/m | UY kgf-s²/m | UZ kgf-s²/m |
| --- | --- | --- | --- |
| Story3 | 7964.72 | 7964.72 | 0 |
| Story2 | 9024.31 | 9024.31 | 0 |
| Story1 | 6147.96 | 6147.96 | 0 |
| Base | 377.85 | 377.85 | 0 |

# 2 Properties

This chapter provides property information for materials, frame sections, shell sections, and links.

## 2.1 Materials

Table 2.1 - Material Properties - Summary

| Name | Type | E kgf/m² | ν | Unit Weight kgf/m³ | Design Strengths |
| --- | --- | --- | --- | --- | --- |
| C0 | Concrete | 2534563564 | 0.2 | 0 | Fc=2812278.5 kgf/m² |
| ST37(Ry=1.15) | Steel | 20000000000 | 0.3 | 7850 | Fy=24000000 kgf/m², Fu=37000000 kgf/m² |
| ST37(Ry=1.2) | Steel | 20000000000 | 0.3 | 7850 | Fy=24000000 kgf/m², Fu=37000000 kgf/m² |

## 2.2 Frame Sections

Table 2.2 - Frame Sections - Summary

| Name | Material | Shape |
| --- | --- | --- |
| BOX180X10 | ST37(Ry=1.15) | Steel Tube |
| BOX240X12 | ST37(Ry=1.15) | Steel Tube |
| IPE220 | ST37(Ry=1.2) | Steel I/Wide Flange |
| PL20X0.4-12X1.0 | ST37(Ry=1.15) | Steel I/Wide Flange |
| PL25X0.6-12X1.2 | ST37(Ry=1.15) | Steel I/Wide Flange |
| PL27X0.6-12X1.2 | ST37(Ry=1.15) | Steel I/Wide Flange |
| PL27X0.6-15X1.2 | ST37(Ry=1.15) | Steel I/Wide Flange |

## 2.3 Shell Sections

Table 2.3 - Shell Sections - Summary

| Name | Design Type | Element Type | Material | Total Thickness m | Deck Material | Deck Depth m |
| --- | --- | --- | --- | --- | --- | --- |
| TIRCHE | Deck | Membrane | C0 | 0.3 | A992Fy50 | 0.25 |

# 3 Loads

This chapter provides loading information as applied to the model.

## 3.1 Load Patterns

Table 3.1 - Load Patterns

| Name | Type | Self Weight Multiplier | Auto Load |
| --- | --- | --- | --- |
| Dead | Dead | 1 |  |
| Live | Live | 0 |  |
| L ROOF | Roof Live | 0 |  |
| Snow | Snow | 0 |  |
| EX | Seismic | 0 | User Coefficient |
| EY | Seismic | 0 | User Coefficient |
| Mass | Other | 0 |  |
| NDEADX | Notional | 0 | Auto |
| NDEADY | Notional | 0 | Auto |
| NLIVEX | Notional | 0 | Auto |
| NLIVEY | Notional | 0 | Auto |
| NLRoofX | Notional | 0 | Auto |
| NLRoofY | Notional | 0 | Auto |
| NSX | Notional | 0 | Auto |
| NSY | Notional | 0 | Auto |

## 3.2 Load Sets

Table 3.2 - Shell Uniform Load Sets

| Load Set | Load Pattern | Load kgf/m² |
| --- | --- | --- |
| Story Load | Dead | 611 |
| Story Load | Live | 200 |
| Roof Load | Dead | 576 |
| Roof Load | L ROOF | 150 |
| Roof Load | Snow | 150 |
| Roof Load | Mass | 50 |

## 3.3 Auto Seismic Loading

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EX using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = X

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C | C=0.1925 |
| --- | --- |
| Base Shear, V | V=CW |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kgf) | V (kgf) |
| --- | --- | --- | --- | --- |
| X | 0 | 0 | 226896.46 | 43677.57 |

### Applied Story Forces

| Story; Elevation; X-Dir; Y-Dir. m; kgf; kgf. Story3; 7.6; 22676.98; 0. Story2; 4.3; 16959.99; 0. Story1; 0; 4040.6; 0. Base; -2.5; 0; 0. |  |
| --- | --- |

# User Coefficient Auto Seismic Load Calculation

This calculation presents the automatically generated lateral seismic loads for load pattern EY using the user input coefficients, as calculated by ETABS.

### Direction and Eccentricity

Direction = Y

### Factors and Coefficients

### Equivalent Lateral Forces

| Base Shear Coefficient, C | C=0.1925 |
| --- | --- |
| Base Shear, V | V=CW |

### Calculated Base Shear

| Direction | Period Used (sec) | C | W (kgf) | V (kgf) |
| --- | --- | --- | --- | --- |
| Y | 0 | 0 | 226896.46 | 43677.57 |

### Applied Story Forces

Story; Elevation; X-Dir; Y-Dir. m; kgf; kgf. Story3; 7.6; 0; 22676.98. Story2; 4.3; 0; 16959.99. Story1; 0; 0; 4040.6. Base; -2.5; 0; 0.

## 3.4 Load Cases

Table 3.5 - Load Cases - Summary

| Name | Type |
| --- | --- |
| Dead | Linear Static |
| Live | Linear Static |
| L ROOF | Linear Static |
| Snow | Linear Static |
| EX | Linear Static |
| EY | Linear Static |
| Mass | Linear Static |
| NDEADX | Linear Static |
| NDEADY | Linear Static |
| NLIVEX | Linear Static |
| NLIVEY | Linear Static |
| NLRoofX | Linear Static |
| NLRoofY | Linear Static |
| NSX | Linear Static |
| NSY | Linear Static |

## 3.5 Load Combinations

Table 3.6 - Load Combinations

| Name | Load Case/Combo | Scale Factor | Type | Auto |
| --- | --- | --- | --- | --- |
| UDStlS1 | Dead | 1.4 | Linear Add | No |
| UDStlS1 | NDEADX | 1.4 |  | No |
| UDStlS2 | Dead | 1.4 | Linear Add | No |
| UDStlS2 | NDEADX | -1.4 |  | No |
| UDStlS3 | Dead | 1.4 | Linear Add | No |
| UDStlS3 | NDEADY | 1.4 |  | No |
| UDStlS4 | Dead | 1.4 | Linear Add | No |
| UDStlS4 | NDEADY | -1.4 |  | No |
| UDStlS5 | Dead | 1.2 | Linear Add | No |
| UDStlS5 | Live | 1.6 |  | No |
| UDStlS5 | Snow | 0.5 |  | No |
| UDStlS5 | NDEADX | 1.2 |  | No |
| UDStlS5 | NLIVEX | 1.6 |  | No |
| UDStlS5 | NSX | 0.5 |  | No |
| UDStlS6 | Dead | 1.2 | Linear Add | No |
| UDStlS6 | Live | 1.6 |  | No |
| UDStlS6 | Snow | 0.5 |  | No |
| UDStlS6 | NDEADX | -1.2 |  | No |
| UDStlS6 | NLIVEX | -1.6 |  | No |
| UDStlS6 | NSX | -0.5 |  | No |
| UDStlS7 | Dead | 1.2 | Linear Add | No |
| UDStlS7 | Live | 1.6 |  | No |
| UDStlS7 | Snow | 0.5 |  | No |
| UDStlS7 | NDEADY | 1.2 |  | No |
| UDStlS7 | NLIVEY | 1.6 |  | No |
| UDStlS7 | NSY | 0.5 |  | No |
| UDStlS8 | Dead | 1.2 | Linear Add | No |
| UDStlS8 | Live | 1.6 |  | No |
| UDStlS8 | Snow | 0.5 |  | No |
| UDStlS8 | NDEADY | -1.2 |  | No |
| UDStlS8 | NLIVEY | -1.6 |  | No |
| UDStlS8 | NSY | -0.5 |  | No |
| UDStlS9 | Dead | 1.2 | Linear Add | No |
| UDStlS9 | Live | 1.6 |  | No |
| UDStlS9 | L ROOF | 0.5 |  | No |
| UDStlS9 | NDEADX | 1.2 |  | No |
| UDStlS9 | NLIVEX | 1.6 |  | No |
| UDStlS9 | NLRoofX | 0.5 |  | No |
| UDStlS10 | Dead | 1.2 | Linear Add | No |
| UDStlS10 | Live | 1.6 |  | No |
| UDStlS10 | L ROOF | 0.5 |  | No |
| UDStlS10 | NDEADX | -1.2 |  | No |
| UDStlS10 | NLIVEX | -1.6 |  | No |
| UDStlS10 | NLRoofX | -0.5 |  | No |
| UDStlS11 | Dead | 1.2 | Linear Add | No |
| UDStlS11 | Live | 1.6 |  | No |
| UDStlS11 | L ROOF | 0.5 |  | No |
| UDStlS11 | NDEADY | 1.2 |  | No |
| UDStlS11 | NLIVEY | 1.6 |  | No |
| UDStlS11 | NLRoofY | 0.5 |  | No |
| UDStlS12 | Dead | 1.2 | Linear Add | No |
| UDStlS12 | Live | 1.6 |  | No |
| UDStlS12 | L ROOF | 0.5 |  | No |
| UDStlS12 | NDEADY | -1.2 |  | No |
| UDStlS12 | NLIVEY | -1.6 |  | No |
| UDStlS12 | NLRoofY | -0.5 |  | No |
| UDStlS13 | Dead | 1.2 | Linear Add | No |
| UDStlS13 | Live | 1 |  | No |
| UDStlS13 | Snow | 1.6 |  | No |
| UDStlS13 | NDEADX | 1.2 |  | No |
| UDStlS13 | NLIVEX | 1 |  | No |
| UDStlS13 | NSX | 1.6 |  | No |
| UDStlS14 | Dead | 1.2 | Linear Add | No |
| UDStlS14 | Live | 1 |  | No |
| UDStlS14 | Snow | 1.6 |  | No |
| UDStlS14 | NDEADX | -1.2 |  | No |
| UDStlS14 | NLIVEX | -1 |  | No |
| UDStlS14 | NSX | -1.6 |  | No |
| UDStlS15 | Dead | 1.2 | Linear Add | No |
| UDStlS15 | Live | 1 |  | No |
| UDStlS15 | Snow | 1.6 |  | No |
| UDStlS15 | NDEADY | 1.2 |  | No |
| UDStlS15 | NLIVEY | 1 |  | No |
| UDStlS15 | NSY | 1.6 |  | No |
| UDStlS16 | Dead | 1.2 | Linear Add | No |
| UDStlS16 | Live | 1 |  | No |
| UDStlS16 | Snow | 1.6 |  | No |
| UDStlS16 | NDEADY | -1.2 |  | No |
| UDStlS16 | NLIVEY | -1 |  | No |
| UDStlS16 | NSY | -1.6 |  | No |
| UDStlS17 | Dead | 1.2 | Linear Add | No |
| UDStlS17 | Live | 1 |  | No |
| UDStlS17 | L ROOF | 1.6 |  | No |
| UDStlS17 | NDEADX | 1.2 |  | No |
| UDStlS17 | NLIVEX | 1 |  | No |
| UDStlS17 | NLRoofX | 1.6 |  | No |
| UDStlS18 | Dead | 1.2 | Linear Add | No |
| UDStlS18 | Live | 1 |  | No |
| UDStlS18 | L ROOF | 1.6 |  | No |
| UDStlS18 | NDEADX | -1.2 |  | No |
| UDStlS18 | NLIVEX | -1 |  | No |
| UDStlS18 | NLRoofX | -1.6 |  | No |
| UDStlS19 | Dead | 1.2 | Linear Add | No |
| UDStlS19 | Live | 1 |  | No |
| UDStlS19 | L ROOF | 1.6 |  | No |
| UDStlS19 | NDEADY | 1.2 |  | No |
| UDStlS19 | NLIVEY | 1 |  | No |
| UDStlS19 | NLRoofY | 1.6 |  | No |
| UDStlS20 | Dead | 1.2 | Linear Add | No |
| UDStlS20 | Live | 1 |  | No |
| UDStlS20 | L ROOF | 1.6 |  | No |
| UDStlS20 | NDEADY | -1.2 |  | No |
| UDStlS20 | NLIVEY | -1 |  | No |
| UDStlS20 | NLRoofY | -1.6 |  | No |
| UDStlS21 | Dead | 1.2 | Linear Add | No |
| UDStlS21 | Live | 1 |  | No |
| UDStlS21 | Snow | 0.2 |  | No |
| UDStlS21 | EX | 1 |  | No |
| UDStlS22 | Dead | 1.2 | Linear Add | No |
| UDStlS22 | Live | 1 |  | No |
| UDStlS22 | Snow | 0.2 |  | No |
| UDStlS22 | EX | -1 |  | No |
| UDStlS23 | Dead | 1.2 | Linear Add | No |
| UDStlS23 | Live | 1 |  | No |
| UDStlS23 | Snow | 0.2 |  | No |
| UDStlS23 | EY | 1 |  | No |
| UDStlS24 | Dead | 1.2 | Linear Add | No |
| UDStlS24 | Live | 1 |  | No |
| UDStlS24 | Snow | 0.2 |  | No |
| UDStlS24 | EY | -1 |  | No |
| UDStlS25 | Dead | 0.9 | Linear Add | No |
| UDStlS25 | EX | 1 |  | No |
| UDStlS26 | Dead | 0.9 | Linear Add | No |
| UDStlS26 | EX | -1 |  | No |
| UDStlS27 | Dead | 0.9 | Linear Add | No |
| UDStlS27 | EY | 1 |  | No |
| UDStlS28 | Dead | 0.9 | Linear Add | No |
| UDStlS28 | EY | -1 |  | No |
| UDStlD1 | Dead | 1 | Linear Add | No |
| UDStlD2 | Dead | 1 | Linear Add | No |
| UDStlD2 | Live | 1 |  | No |

# 4 Analysis Results

This chapter provides analysis results.

## 4.1 Structure Results

Table 4.1 - Base Reactions

| Load Case/Combo | FX kgf | FY kgf | FZ kgf | MX kgf-m | MY kgf-m | MZ kgf-m | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dead | 0 | 0 | 207151.91 | 1570080.13 | -714640.08 | -0.17 | 0 | 0 | -2.5 |
| Live | 0 | 0 | 21945 | 171803.06 | -80093.57 | -0.11 | 0 | 0 | -2.5 |
| L ROOF | 0 | 0 | 13358.25 | 95940.74 | -46615.97 | 0.03 | 0 | 0 | -2.5 |
| Snow | 0 | 0 | 13358.25 | 95940.74 | -46615.97 | 0.03 | 0 | 0 | -2.5 |
| EX | -43677.57 | 0 | 0 | -75.36 | -365900.96 | 321209.09 | 0 | 0 | -2.5 |
| EY | 0 | -43677.57 | 0 | 365892.7 | 73.92 | -149964.74 | 0 | 0 | -2.5 |
| Mass | 0 | 0 | 16389.38 | 118076.53 | -53889.54 | 0.003055 | 0 | 0 | -2.5 |
| NDEADX | -414.3 | 0 | 0 | -0.49 | -2730.38 | 3140.23 | 0 | 0 | -2.5 |
| NDEADY | 0 | -414.3 | 0 | 2730.24 | 0.52 | -1429.32 | 0 | 0 | -2.5 |
| NLIVEX | -43.89 | 0 | 0 | -0.07 | -260.75 | 343.6 | 0 | 0 | -2.5 |
| NLIVEY | 0 | -43.89 | 0 | 260.66 | 0.03 | -160.2 | 0 | 0 | -2.5 |
| NLRoofX | -26.72 | 0 | 0 | -0.06 | -278.5 | 191.89 | 0 | 0 | -2.5 |
| NLRoofY | 0 | -26.72 | 0 | 278.51 | 0.05 | -93.25 | 0 | 0 | -2.5 |
| NSX | -26.72 | 0 | 0 | -0.06 | -278.5 | 191.89 | 0 | 0 | -2.5 |
| NSY | 0 | -26.72 | 0 | 278.51 | 0.05 | -93.25 | 0 | 0 | -2.5 |
| UDStlS1 | -580.03 | 0 | 290012.67 | 2198111.49 | -1004318.63 | 4396.09 | 0 | 0 | -2.5 |
| UDStlS2 | 580.03 | 0 | 290012.67 | 2198112.86 | -996673.58 | -4396.56 | 0 | 0 | -2.5 |
| UDStlS3 | 0 | -580.03 | 290012.67 | 2201934.51 | -1000495.37 | -2001.28 | 0 | 0 | -2.5 |
| UDStlS4 | 0 | 580.03 | 290012.67 | 2194289.84 | -1000496.84 | 2000.8 | 0 | 0 | -2.5 |
| UDStlS5 | -580.75 | 0 | 290373.42 | 2206950.69 | -1012858.69 | 4413.62 | 0 | 0 | -2.5 |
| UDStlS6 | 580.75 | 0 | 290373.42 | 2206952.13 | -1005192.88 | -4414.35 | 0 | 0 | -2.5 |
| UDStlS7 | 0 | -580.75 | 290373.42 | 2210784.02 | -1009025.09 | -2018.49 | 0 | 0 | -2.5 |
| UDStlS8 | 0 | 580.75 | 290373.42 | 2203118.81 | -1009026.48 | 2017.75 | 0 | 0 | -2.5 |
| UDStlS9 | -580.75 | 0 | 290373.42 | 2206950.69 | -1012858.69 | 4413.62 | 0 | 0 | -2.5 |
| UDStlS10 | 580.75 | 0 | 290373.42 | 2206952.13 | -1005192.88 | -4414.35 | 0 | 0 | -2.5 |
| UDStlS11 | 0 | -580.75 | 290373.42 | 2210784.02 | -1009025.09 | -2018.49 | 0 | 0 | -2.5 |
| UDStlS12 | 0 | 580.75 | 290373.42 | 2203118.81 | -1009026.48 | 2017.75 | 0 | 0 | -2.5 |
| UDStlS13 | -583.8 | 0 | 291900.49 | 2209403.65 | -1016230.03 | 4418.64 | 0 | 0 | -2.5 |
| UDStlS14 | 583.8 | 0 | 291900.49 | 2209405.14 | -1008264.41 | -4419.17 | 0 | 0 | -2.5 |
| UDStlS15 | 0 | -583.8 | 291900.49 | 2213386.96 | -1012246.49 | -2024.83 | 0 | 0 | -2.5 |
| UDStlS16 | 0 | 583.8 | 291900.49 | 2205421.83 | -1012247.95 | 2024.31 | 0 | 0 | -2.5 |
| UDStlS17 | -583.8 | 0 | 291900.49 | 2209403.65 | -1016230.03 | 4418.64 | 0 | 0 | -2.5 |
| UDStlS18 | 583.8 | 0 | 291900.49 | 2209405.14 | -1008264.41 | -4419.17 | 0 | 0 | -2.5 |
| UDStlS19 | 0 | -583.8 | 291900.49 | 2213386.96 | -1012246.49 | -2024.83 | 0 | 0 | -2.5 |
| UDStlS20 | 0 | 583.8 | 291900.49 | 2205421.83 | -1012247.95 | 2024.31 | 0 | 0 | -2.5 |
| UDStlS21 | -43677.57 | 0 | 273198.94 | 2075012 | -1312885.81 | 321208.78 | 0 | 0 | -2.5 |
| UDStlS22 | 43677.57 | 0 | 273198.94 | 2075162.71 | -581083.9 | -321209.4 | 0 | 0 | -2.5 |
| UDStlS23 | 0 | -43677.57 | 273198.94 | 2440980.06 | -946910.93 | -149965.05 | 0 | 0 | -2.5 |
| UDStlS24 | 0 | 43677.57 | 273198.94 | 1709194.66 | -947058.77 | 149964.43 | 0 | 0 | -2.5 |
| UDStlS25 | -43677.57 | 0 | 186436.72 | 1412996.76 | -1009077.02 | 321208.94 | 0 | 0 | -2.5 |
| UDStlS26 | 43677.57 | 0 | 186436.72 | 1413147.47 | -277275.11 | -321209.24 | 0 | 0 | -2.5 |
| UDStlS27 | 0 | -43677.57 | 186436.72 | 1778964.81 | -643102.15 | -149964.89 | 0 | 0 | -2.5 |
| UDStlS28 | 0 | 43677.57 | 186436.72 | 1047179.41 | -643249.99 | 149964.59 | 0 | 0 | -2.5 |
| UDStlD1 | 0 | 0 | 207151.91 | 1570080.13 | -714640.08 | -0.17 | 0 | 0 | -2.5 |
| UDStlD2 | 0 | 0 | 229096.91 | 1741883.18 | -794733.65 | -0.28 | 0 | 0 | -2.5 |

Table 4.2 - Centers of Mass and Rigidity

| Story | Diaphragm | Mass X kgf-s²/m | Mass Y kgf-s²/m | XCM m | YCM m | Cumulative X kgf-s²/m | Cumulative Y kgf-s²/m | XCCM m | YCCM m | XCR m | YCR m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story3 | D1 | 7964.72 | 7964.72 | 3.4602 | 7.1715 | 7964.72 | 7964.72 | 3.4602 | 7.1715 | 3.7166 | 7.8742 |
| Story2 | D1 | 8528.32 | 8528.32 | 3.5632 | 6.9102 | 16493.04 | 16493.04 | 3.5134 | 7.0364 | 3.7089 | 7.9807 |
| Story1 | D1 | 4256.69 | 4256.69 | 3.8532 | 11.4582 | 20749.73 | 20749.73 | 3.5831 | 7.9435 | 3.9041 | 10.5966 |

## 4.2 Story Results

Table 4.3 - Story Forces

| Story | Load Case/Combo | Location | P kgf | VX kgf | VY kgf | T kgf-m | MX kgf-m | MY kgf-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Story3 | Dead | Top | 58020.4 | 0 | 0 | 0 | 415301.19 | -203047.17 |
| Story3 | Dead | Bottom | 60072.08 | 0 | 0 | 0 | 430450.16 | -211055.26 |
| Story3 | Live | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| Story3 | Live | Bottom | 0 | 0 | 0 | 0 | 0.74 | 1.23 |
| Story3 | L ROOF | Top | 13358.25 | 0 | 0 | 0 | 95945.51 | -46623.43 |
| Story3 | L ROOF | Bottom | 13358.25 | 0 | 0 | 0 | 95941.66 | -46622.9 |
| Story3 | Snow | Top | 13358.25 | 0 | 0 | 0 | 95945.51 | -46623.43 |
| Story3 | Snow | Bottom | 13358.25 | 0 | 0 | 0 | 95941.66 | -46622.9 |
| Story3 | EX | Top | 0 | -22676.98 | 0 | 162627.75 | 0 | 0 |
| Story3 | EX | Bottom | 0 | -22676.98 | 0 | 162627.75 | -10.38 | -76722.43 |
| Story3 | EY | Top | 0 | 0 | -22676.98 | -78466.78 | 0 | 0 |
| Story3 | EY | Bottom | 0 | 0 | -22676.98 | -78466.78 | 76743.05 | 12.81 |
| Story3 | Mass | Top | 16389.38 | 0 | 0 | 0 | 118073.25 | -53889.05 |
| Story3 | Mass | Bottom | 16389.38 | 0 | 0 | 0 | 118077.2 | -53892.28 |
| Story3 | NDEADX | Top | 0 | -116.04 | 0 | 830.6 | 0 | 0 |
| Story3 | NDEADX | Bottom | 0 | -120.14 | 0 | 860.93 | -0.06 | -400.74 |
| Story3 | NDEADY | Top | 0 | 0 | -116.04 | -406.09 | 0 | 0 |
| Story3 | NDEADY | Bottom | 0 | 0 | -120.14 | -422.12 | 400.9 | 0.07 |
| Story3 | NLIVEX | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| Story3 | NLIVEX | Bottom | 0 | 0 | 0 | 0 | -0.003439 | -0.47 |
| Story3 | NLIVEY | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| Story3 | NLIVEY | Bottom | 0 | 0 | 0 | 0 | 0.49 | 0.001883 |
| Story3 | NLRoofX | Top | 0 | -26.72 | 0 | 191.89 | 0 | 0 |
| Story3 | NLRoofX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.01 | -90.11 |
| Story3 | NLRoofY | Top | 0 | 0 | -26.72 | -93.25 | 0 | 0 |
| Story3 | NLRoofY | Bottom | 0 | 0 | -26.72 | -93.25 | 90.12 | 0.01 |
| Story3 | NSX | Top | 0 | -26.72 | 0 | 191.89 | 0 | 0 |
| Story3 | NSX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.01 | -90.11 |
| Story3 | NSY | Top | 0 | 0 | -26.72 | -93.25 | 0 | 0 |
| Story3 | NSY | Bottom | 0 | 0 | -26.72 | -93.25 | 90.12 | 0.01 |
| Story3 | UDStlS1 | Top | 81228.57 | -162.46 | 0 | 1162.84 | 581421.67 | -284266.03 |
| Story3 | UDStlS1 | Bottom | 84100.91 | -168.2 | 0 | 1205.3 | 602630.13 | -296038.39 |
| Story3 | UDStlS2 | Top | 81228.57 | 162.46 | 0 | -1162.84 | 581421.67 | -284266.03 |
| Story3 | UDStlS2 | Bottom | 84100.91 | 168.2 | 0 | -1205.3 | 602630.31 | -294916.33 |
| Story3 | UDStlS3 | Top | 81228.57 | 0 | -162.46 | -568.53 | 581421.67 | -284266.03 |
| Story3 | UDStlS3 | Bottom | 84100.91 | 0 | -168.2 | -590.96 | 603191.49 | -295477.26 |
| Story3 | UDStlS4 | Top | 81228.57 | 0 | 162.46 | 568.53 | 581421.67 | -284266.03 |
| Story3 | UDStlS4 | Bottom | 84100.91 | 0 | 168.2 | 590.96 | 602068.96 | -295477.46 |
| Story3 | UDStlS5 | Top | 76303.61 | -152.61 | 0 | 1092.67 | 546334.19 | -266968.31 |
| Story3 | UDStlS5 | Bottom | 78765.62 | -157.53 | 0 | 1129.06 | 564512.11 | -277102.49 |
| Story3 | UDStlS6 | Top | 76303.61 | 152.61 | 0 | -1092.67 | 546334.19 | -266968.31 |
| Story3 | UDStlS6 | Bottom | 78765.62 | 157.53 | 0 | -1129.06 | 564512.29 | -276049.1 |
| Story3 | UDStlS7 | Top | 76303.61 | 0 | -152.61 | -533.94 | 546334.19 | -266968.31 |
| Story3 | UDStlS7 | Bottom | 78765.62 | 0 | -157.53 | -553.16 | 565039.13 | -276575.7 |
| Story3 | UDStlS8 | Top | 76303.61 | 0 | 152.61 | 533.94 | 546334.19 | -266968.31 |
| Story3 | UDStlS8 | Bottom | 78765.62 | 0 | 157.53 | 553.16 | 563985.28 | -276575.89 |
| Story3 | UDStlS9 | Top | 76303.61 | -152.61 | 0 | 1092.67 | 546334.19 | -266968.31 |
| Story3 | UDStlS9 | Bottom | 78765.62 | -157.53 | 0 | 1129.06 | 564512.11 | -277102.49 |
| Story3 | UDStlS10 | Top | 76303.61 | 152.61 | 0 | -1092.67 | 546334.19 | -266968.31 |
| Story3 | UDStlS10 | Bottom | 78765.62 | 157.53 | 0 | -1129.06 | 564512.29 | -276049.1 |
| Story3 | UDStlS11 | Top | 76303.61 | 0 | -152.61 | -533.94 | 546334.19 | -266968.31 |
| Story3 | UDStlS11 | Bottom | 78765.62 | 0 | -157.53 | -553.16 | 565039.13 | -276575.7 |
| Story3 | UDStlS12 | Top | 76303.61 | 0 | 152.61 | 533.94 | 546334.19 | -266968.31 |
| Story3 | UDStlS12 | Bottom | 78765.62 | 0 | 157.53 | 553.16 | 563985.28 | -276575.89 |
| Story3 | UDStlS13 | Top | 90997.68 | -182 | 0 | 1303.75 | 651874.25 | -318254.09 |
| Story3 | UDStlS13 | Bottom | 93459.7 | -186.92 | 0 | 1340.14 | 670047.49 | -328487.26 |
| Story3 | UDStlS14 | Top | 90997.68 | 182 | 0 | -1303.75 | 651874.25 | -318254.09 |
| Story3 | UDStlS14 | Bottom | 93459.7 | 186.92 | 0 | -1340.14 | 670047.69 | -327236.19 |
| Story3 | UDStlS15 | Top | 90997.68 | 0 | -182 | -636.51 | 651874.25 | -318254.09 |
| Story3 | UDStlS15 | Bottom | 93459.7 | 0 | -186.92 | -655.73 | 670673.35 | -327861.62 |
| Story3 | UDStlS16 | Top | 90997.68 | 0 | 182 | 636.51 | 651874.25 | -318254.09 |
| Story3 | UDStlS16 | Bottom | 93459.7 | 0 | 186.92 | 655.73 | 669421.83 | -327861.83 |
| Story3 | UDStlS17 | Top | 90997.68 | -182 | 0 | 1303.75 | 651874.25 | -318254.09 |
| Story3 | UDStlS17 | Bottom | 93459.7 | -186.92 | 0 | 1340.14 | 670047.49 | -328487.26 |
| Story3 | UDStlS18 | Top | 90997.68 | 182 | 0 | -1303.75 | 651874.25 | -318254.09 |
| Story3 | UDStlS18 | Bottom | 93459.7 | 186.92 | 0 | -1340.14 | 670047.69 | -327236.19 |
| Story3 | UDStlS19 | Top | 90997.68 | 0 | -182 | -636.51 | 651874.25 | -318254.09 |
| Story3 | UDStlS19 | Bottom | 93459.7 | 0 | -186.92 | -655.73 | 670673.35 | -327861.62 |
| Story3 | UDStlS20 | Top | 90997.68 | 0 | 182 | 636.51 | 651874.25 | -318254.09 |
| Story3 | UDStlS20 | Bottom | 93459.7 | 0 | 186.92 | 655.73 | 669421.83 | -327861.83 |
| Story3 | UDStlS21 | Top | 72296.13 | -22676.98 | 0 | 162627.75 | 517550.54 | -252981.28 |
| Story3 | UDStlS21 | Bottom | 74758.15 | -22676.98 | 0 | 162627.75 | 535718.88 | -339312.09 |
| Story3 | UDStlS22 | Top | 72296.13 | 22676.98 | 0 | -162627.75 | 517550.54 | -252981.28 |
| Story3 | UDStlS22 | Bottom | 74758.15 | 22676.98 | 0 | -162627.75 | 535739.64 | -185867.23 |
| Story3 | UDStlS23 | Top | 72296.13 | 0 | -22676.98 | -78466.78 | 517550.54 | -252981.28 |
| Story3 | UDStlS23 | Bottom | 74758.15 | 0 | -22676.98 | -78466.78 | 612472.31 | -262576.85 |
| Story3 | UDStlS24 | Top | 72296.13 | 0 | 22676.98 | 78466.78 | 517550.54 | -252981.28 |
| Story3 | UDStlS24 | Bottom | 74758.15 | 0 | 22676.98 | 78466.78 | 458986.21 | -262602.47 |
| Story3 | UDStlS25 | Top | 52218.36 | -22676.98 | 0 | 162627.75 | 373771.08 | -182742.45 |
| Story3 | UDStlS25 | Bottom | 54064.87 | -22676.98 | 0 | 162627.75 | 387394.77 | -266672.16 |
| Story3 | UDStlS26 | Top | 52218.36 | 22676.98 | 0 | -162627.75 | 373771.08 | -182742.45 |
| Story3 | UDStlS26 | Bottom | 54064.87 | 22676.98 | 0 | -162627.75 | 387415.52 | -113227.3 |
| Story3 | UDStlS27 | Top | 52218.36 | 0 | -22676.98 | -78466.78 | 373771.08 | -182742.45 |
| Story3 | UDStlS27 | Bottom | 54064.87 | 0 | -22676.98 | -78466.78 | 464148.19 | -189936.92 |
| Story3 | UDStlS28 | Top | 52218.36 | 0 | 22676.98 | 78466.78 | 373771.08 | -182742.45 |
| Story3 | UDStlS28 | Bottom | 54064.87 | 0 | 22676.98 | 78466.78 | 310662.1 | -189962.54 |
| Story3 | UDStlD1 | Top | 58020.4 | 0 | 0 | 0 | 415301.19 | -203047.17 |
| Story3 | UDStlD1 | Bottom | 60072.08 | 0 | 0 | 0 | 430450.16 | -211055.26 |
| Story3 | UDStlD2 | Top | 58020.4 | 0 | 0 | 0 | 415301.19 | -203047.17 |
| Story3 | UDStlD2 | Bottom | 60072.08 | 0 | 0 | 0 | 430450.9 | -211054.03 |
| Story2 | Dead | Top | 142083.6 | 0 | 0 | 0.03 | 1026636.25 | -484869.94 |
| Story2 | Dead | Bottom | 146361.03 | 0 | 0 | 0.03 | 1058234.3 | -501562.71 |
| Story2 | Live | Top | 16611 | 0 | 0 | 0.002773 | 112808.1 | -59163.36 |
| Story2 | Live | Bottom | 16611 | 0 | 0 | 0.002773 | 112809.85 | -59163.6 |
| Story2 | L ROOF | Top | 13358.25 | 0 | 0 | 0.001417 | 95941.66 | -46622.91 |
| Story2 | L ROOF | Bottom | 13358.25 | 0 | 0 | 0.001417 | 95940.89 | -46616.35 |
| Story2 | Snow | Top | 13358.25 | 0 | 0 | 0.001417 | 95941.66 | -46622.91 |
| Story2 | Snow | Bottom | 13358.25 | 0 | 0 | 0.001417 | 95940.89 | -46616.35 |
| Story2 | EX | Top | 0 | -39636.97 | 0 | 285685.99 | -10.36 | -76722.38 |
| Story2 | EX | Bottom | 0 | -39636.97 | 0 | 285685.99 | -59.17 | -254159.28 |
| Story2 | EY | Top | 0 | 0 | -39636.97 | -135576.09 | 76742.86 | 12.84 |
| Story2 | EY | Bottom | 0 | 0 | -39636.97 | -135576.09 | 254221.27 | 62.61 |
| Story2 | Mass | Top | 16389.38 | 0 | 0 | 0.001053 | 118077.2 | -53892.28 |
| Story2 | Mass | Bottom | 16389.38 | 0 | 0 | 0.001053 | 118076.53 | -53889.5 |
| Story2 | NDEADX | Top | 0 | -284.17 | 0 | 2053.29 | -0.06 | -400.74 |
| Story2 | NDEADX | Bottom | 0 | -292.72 | 0 | 2116.52 | -0.38 | -1691.98 |
| Story2 | NDEADY | Top | 0 | 0 | -284.17 | -969.74 | 400.9 | 0.07 |
| Story2 | NDEADY | Bottom | 0 | 0 | -292.72 | -1003.14 | 1692.44 | 0.43 |
| Story2 | NLIVEX | Top | 0 | -33.22 | 0 | 225.61 | -0.003427 | -0.47 |
| Story2 | NLIVEX | Bottom | 0 | -33.22 | 0 | 225.61 | -0.05 | -148.72 |
| Story2 | NLIVEY | Top | 0 | 0 | -33.22 | -118.33 | 0.49 | 0.001899 |
| Story2 | NLIVEY | Bottom | 0 | 0 | -33.22 | -118.33 | 148.71 | 0.02 |
| Story2 | NLRoofX | Top | 0 | -26.72 | 0 | 191.89 | -0.01 | -90.11 |
| Story2 | NLRoofX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.05 | -210.04 |
| Story2 | NLRoofY | Top | 0 | 0 | -26.72 | -93.25 | 90.12 | 0.01 |
| Story2 | NLRoofY | Bottom | 0 | 0 | -26.72 | -93.25 | 210.09 | 0.04 |
| Story2 | NSX | Top | 0 | -26.72 | 0 | 191.89 | -0.01 | -90.11 |
| Story2 | NSX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.05 | -210.04 |
| Story2 | NSY | Top | 0 | 0 | -26.72 | -93.25 | 90.12 | 0.01 |
| Story2 | NSY | Bottom | 0 | 0 | -26.72 | -93.25 | 210.09 | 0.04 |
| Story2 | UDStlS1 | Top | 198917.04 | -397.83 | 0 | 2874.65 | 1437290.66 | -679378.95 |
| Story2 | UDStlS1 | Bottom | 204905.44 | -409.81 | 0 | 2963.17 | 1481527.49 | -704556.56 |
| Story2 | UDStlS2 | Top | 198917.04 | 397.83 | 0 | -2874.56 | 1437290.84 | -678256.88 |
| Story2 | UDStlS2 | Bottom | 204905.44 | 409.81 | 0 | -2963.08 | 1481528.55 | -699819.02 |
| Story2 | UDStlS3 | Top | 198917.04 | 0 | -397.83 | -1357.59 | 1437852.01 | -678817.81 |
| Story2 | UDStlS3 | Bottom | 204905.44 | 0 | -409.81 | -1404.36 | 1483897.44 | -702187.19 |
| Story2 | UDStlS4 | Top | 198917.04 | 0 | 397.83 | 1357.68 | 1436729.49 | -678818.02 |
| Story2 | UDStlS4 | Bottom | 204905.44 | 0 | 409.81 | 1404.44 | 1479158.6 | -702188.39 |
| Story2 | UDStlS5 | Top | 203757.04 | -407.51 | 0 | 2920.91 | 1460427.21 | -700343.46 |
| Story2 | UDStlS5 | Bottom | 208889.96 | -417.78 | 0 | 2996.79 | 1498346.81 | -722218.53 |
| Story2 | UDStlS6 | Top | 203757.04 | 407.51 | 0 | -2920.83 | 1460427.38 | -699290.06 |
| Story2 | UDStlS6 | Bottom | 208889.96 | 417.78 | 0 | -2996.7 | 1498347.92 | -717471.84 |
| Story2 | UDStlS7 | Top | 203757.04 | 0 | -407.51 | -1399.59 | 1460954.22 | -699816.66 |
| Story2 | UDStlS7 | Bottom | 208889.96 | 0 | -417.78 | -1439.68 | 1500721.28 | -719844.62 |
| Story2 | UDStlS8 | Top | 203757.04 | 0 | 407.51 | 1399.68 | 1459900.37 | -699816.86 |
| Story2 | UDStlS8 | Bottom | 208889.96 | 0 | 417.78 | 1439.76 | 1495973.45 | -719845.76 |
| Story2 | UDStlS9 | Top | 203757.04 | -407.51 | 0 | 2920.91 | 1460427.21 | -700343.46 |
| Story2 | UDStlS9 | Bottom | 208889.96 | -417.78 | 0 | 2996.79 | 1498346.81 | -722218.53 |
| Story2 | UDStlS10 | Top | 203757.04 | 407.51 | 0 | -2920.83 | 1460427.38 | -699290.06 |
| Story2 | UDStlS10 | Bottom | 208889.96 | 417.78 | 0 | -2996.7 | 1498347.92 | -717471.84 |
| Story2 | UDStlS11 | Top | 203757.04 | 0 | -407.51 | -1399.59 | 1460954.22 | -699816.66 |
| Story2 | UDStlS11 | Bottom | 208889.96 | 0 | -417.78 | -1439.68 | 1500721.28 | -719844.62 |
| Story2 | UDStlS12 | Top | 203757.04 | 0 | 407.51 | 1399.68 | 1459900.37 | -699816.86 |
| Story2 | UDStlS12 | Bottom | 208889.96 | 0 | 417.78 | 1439.76 | 1495973.45 | -719845.76 |
| Story2 | UDStlS13 | Top | 208484.52 | -416.97 | 0 | 2996.62 | 1498278.17 | -716229.47 |
| Story2 | UDStlS13 | Bottom | 213617.44 | -427.23 | 0 | 3072.5 | 1536195.86 | -738140.16 |
| Story2 | UDStlS14 | Top | 208484.52 | 416.97 | 0 | -2996.54 | 1498278.36 | -714978.41 |
| Story2 | UDStlS14 | Bottom | 213617.44 | 427.23 | 0 | -3072.41 | 1536197.01 | -733109.85 |
| Story2 | UDStlS15 | Top | 208484.52 | 0 | -416.97 | -1431.17 | 1498904.02 | -715603.83 |
| Story2 | UDStlS15 | Bottom | 213617.44 | 0 | -427.23 | -1471.25 | 1538712.22 | -735624.4 |
| Story2 | UDStlS16 | Top | 208484.52 | 0 | 416.97 | 1431.25 | 1497652.5 | -715604.05 |
| Story2 | UDStlS16 | Bottom | 213617.44 | 0 | 427.23 | 1471.34 | 1533680.64 | -735625.6 |
| Story2 | UDStlS17 | Top | 208484.52 | -416.97 | 0 | 2996.62 | 1498278.17 | -716229.47 |
| Story2 | UDStlS17 | Bottom | 213617.44 | -427.23 | 0 | 3072.5 | 1536195.86 | -738140.16 |
| Story2 | UDStlS18 | Top | 208484.52 | 416.97 | 0 | -2996.54 | 1498278.36 | -714978.41 |
| Story2 | UDStlS18 | Bottom | 213617.44 | 427.23 | 0 | -3072.41 | 1536197.01 | -733109.85 |
| Story2 | UDStlS19 | Top | 208484.52 | 0 | -416.97 | -1431.17 | 1498904.02 | -715603.83 |
| Story2 | UDStlS19 | Bottom | 213617.44 | 0 | -427.23 | -1471.25 | 1538712.22 | -735624.4 |
| Story2 | UDStlS20 | Top | 208484.52 | 0 | 416.97 | 1431.25 | 1497652.5 | -715604.05 |
| Story2 | UDStlS20 | Bottom | 213617.44 | 0 | 427.23 | 1471.34 | 1533680.64 | -735625.6 |
| Story2 | UDStlS21 | Top | 189782.97 | -39636.97 | 0 | 285686.03 | 1363949.57 | -727054.25 |
| Story2 | UDStlS21 | Bottom | 194915.89 | -39636.97 | 0 | 285686.03 | 1401820.02 | -924521.4 |
| Story2 | UDStlS22 | Top | 189782.97 | 39636.97 | 0 | -285685.95 | 1363970.3 | -573609.49 |
| Story2 | UDStlS22 | Bottom | 194915.89 | 39636.97 | 0 | -285685.95 | 1401938.35 | -416202.84 |
| Story2 | UDStlS23 | Top | 189782.97 | 0 | -39636.97 | -135576.05 | 1440702.8 | -650319.03 |
| Story2 | UDStlS23 | Bottom | 194915.89 | 0 | -39636.97 | -135576.05 | 1656100.46 | -670299.51 |
| Story2 | UDStlS24 | Top | 189782.97 | 0 | 39636.97 | 135576.13 | 1287217.07 | -650344.71 |
| Story2 | UDStlS24 | Bottom | 194915.89 | 0 | 39636.97 | 135576.13 | 1147657.91 | -670424.73 |
| Story2 | UDStlS25 | Top | 127875.24 | -39636.97 | 0 | 285686.02 | 923962.26 | -513105.33 |
| Story2 | UDStlS25 | Bottom | 131724.93 | -39636.97 | 0 | 285686.02 | 952351.7 | -705565.72 |
| Story2 | UDStlS26 | Top | 127875.24 | 39636.97 | 0 | -285685.97 | 923982.99 | -359660.56 |
| Story2 | UDStlS26 | Bottom | 131724.93 | 39636.97 | 0 | -285685.97 | 952470.04 | -197247.15 |
| Story2 | UDStlS27 | Top | 127875.24 | 0 | -39636.97 | -135576.06 | 1000715.49 | -436370.11 |
| Story2 | UDStlS27 | Bottom | 131724.93 | 0 | -39636.97 | -135576.06 | 1206632.14 | -451343.83 |
| Story2 | UDStlS28 | Top | 127875.24 | 0 | 39636.97 | 135576.12 | 847229.76 | -436395.78 |
| Story2 | UDStlS28 | Bottom | 131724.93 | 0 | 39636.97 | 135576.12 | 698189.6 | -451469.04 |
| Story2 | UDStlD1 | Top | 142083.6 | 0 | 0 | 0.03 | 1026636.25 | -484869.94 |
| Story2 | UDStlD1 | Bottom | 146361.03 | 0 | 0 | 0.03 | 1058234.3 | -501562.71 |
| Story2 | UDStlD2 | Top | 158694.6 | 0 | 0 | 0.03 | 1139444.35 | -544033.3 |
| Story2 | UDStlD2 | Bottom | 162972.03 | 0 | 0 | 0.03 | 1171044.15 | -560726.31 |
| Story1 | Dead | Top | 196971.18 | 0 | 0 | -0.26 | 1543509.39 | -676598.2 |
| Story1 | Dead | Bottom | 207151.91 | 0 | 0 | -0.17 | 1570080.13 | -714640.08 |
| Story1 | Live | Top | 21945 | 0 | 0 | -0.13 | 171803.75 | -80098.15 |
| Story1 | Live | Bottom | 21945 | 0 | 0 | -0.11 | 171803.06 | -80093.57 |
| Story1 | L ROOF | Top | 13358.25 | 0 | 0 | 0.04 | 95940.88 | -46616.34 |
| Story1 | L ROOF | Bottom | 13358.25 | 0 | 0 | 0.03 | 95940.74 | -46615.97 |
| Story1 | Snow | Top | 13358.25 | 0 | 0 | 0.04 | 95940.88 | -46616.34 |
| Story1 | Snow | Bottom | 13358.25 | 0 | 0 | 0.03 | 95940.74 | -46615.97 |
| Story1 | EX | Top | 0 | -43677.57 | 0 | 321208.7 | -59.2 | -254159.41 |
| Story1 | EX | Bottom | 0 | -43677.57 | 0 | 321209.09 | -75.36 | -365900.96 |
| Story1 | EY | Top | 0 | 0 | -43677.57 | -149964.64 | 254221.15 | 62.63 |
| Story1 | EY | Bottom | 0 | 0 | -43677.57 | -149964.74 | 365892.7 | 73.92 |
| Story1 | Mass | Top | 16389.38 | 0 | 0 | 0.0013 | 118076.54 | -53889.5 |
| Story1 | Mass | Bottom | 16389.38 | 0 | 0 | 0.003055 | 118076.53 | -53889.54 |
| Story1 | NDEADX | Top | 0 | -393.94 | 0 | 3087.08 | -0.38 | -1691.98 |
| Story1 | NDEADX | Bottom | 0 | -414.3 | 0 | 3140.23 | -0.49 | -2730.38 |
| Story1 | NDEADY | Top | 0 | 0 | -393.94 | -1353.21 | 1692.44 | 0.43 |
| Story1 | NDEADY | Bottom | 0 | 0 | -414.3 | -1429.32 | 2730.24 | 0.52 |
| Story1 | NLIVEX | Top | 0 | -43.89 | 0 | 343.6 | -0.05 | -148.72 |
| Story1 | NLIVEX | Bottom | 0 | -43.89 | 0 | 343.6 | -0.07 | -260.75 |
| Story1 | NLIVEY | Top | 0 | 0 | -43.89 | -160.2 | 148.71 | 0.02 |
| Story1 | NLIVEY | Bottom | 0 | 0 | -43.89 | -160.2 | 260.66 | 0.03 |
| Story1 | NLRoofX | Top | 0 | -26.72 | 0 | 191.89 | -0.05 | -210.04 |
| Story1 | NLRoofX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.06 | -278.5 |
| Story1 | NLRoofY | Top | 0 | 0 | -26.72 | -93.25 | 210.09 | 0.04 |
| Story1 | NLRoofY | Bottom | 0 | 0 | -26.72 | -93.25 | 278.51 | 0.05 |
| Story1 | NSX | Top | 0 | -26.72 | 0 | 191.89 | -0.05 | -210.04 |
| Story1 | NSX | Bottom | 0 | -26.72 | 0 | 191.89 | -0.06 | -278.5 |
| Story1 | NSY | Top | 0 | 0 | -26.72 | -93.25 | 210.09 | 0.04 |
| Story1 | NSY | Bottom | 0 | 0 | -26.72 | -93.25 | 278.51 | 0.05 |
| Story1 | UDStlS1 | Top | 275759.65 | -551.52 | 0 | 4321.55 | 2160912.61 | -949606.25 |
| Story1 | UDStlS1 | Bottom | 290012.67 | -580.03 | 0 | 4396.09 | 2198111.49 | -1004318.63 |
| Story1 | UDStlS2 | Top | 275759.65 | 551.52 | 0 | -4322.27 | 2160913.67 | -944868.71 |
| Story1 | UDStlS2 | Bottom | 290012.67 | 580.03 | 0 | -4396.56 | 2198112.86 | -996673.58 |
| Story1 | UDStlS3 | Top | 275759.65 | 0 | -551.52 | -1894.86 | 2163282.56 | -947236.88 |
| Story1 | UDStlS3 | Bottom | 290012.67 | 0 | -580.03 | -2001.28 | 2201934.51 | -1000495.37 |
| Story1 | UDStlS4 | Top | 275759.65 | 0 | 551.52 | 1894.14 | 2158543.72 | -947238.08 |
| Story1 | UDStlS4 | Bottom | 290012.67 | 0 | 580.03 | 2000.8 | 2194289.84 | -1000496.84 |
| Story1 | UDStlS5 | Top | 278156.54 | -556.31 | 0 | 4349.7 | 2175067.15 | -965756.39 |
| Story1 | UDStlS5 | Bottom | 290373.42 | -580.75 | 0 | 4413.62 | 2206950.69 | -1012858.69 |
| Story1 | UDStlS6 | Top | 278156.54 | 556.31 | 0 | -4350.69 | 2175068.26 | -961009.7 |
| Story1 | UDStlS6 | Bottom | 290373.42 | 580.75 | 0 | -4414.35 | 2206952.13 | -1005192.88 |
| Story1 | UDStlS7 | Top | 278156.54 | 0 | -556.31 | -1927.29 | 2177441.62 | -963382.47 |
| Story1 | UDStlS7 | Bottom | 290373.42 | 0 | -580.75 | -2018.49 | 2210784.02 | -1009025.09 |
| Story1 | UDStlS8 | Top | 278156.54 | 0 | 556.31 | 1926.3 | 2172693.79 | -963383.61 |
| Story1 | UDStlS8 | Bottom | 290373.42 | 0 | 580.75 | 2017.75 | 2203118.81 | -1009026.48 |
| Story1 | UDStlS9 | Top | 278156.54 | -556.31 | 0 | 4349.7 | 2175067.15 | -965756.39 |
| Story1 | UDStlS9 | Bottom | 290373.42 | -580.75 | 0 | 4413.62 | 2206950.69 | -1012858.69 |
| Story1 | UDStlS10 | Top | 278156.54 | 556.31 | 0 | -4350.69 | 2175068.26 | -961009.7 |
| Story1 | UDStlS10 | Bottom | 290373.42 | 580.75 | 0 | -4414.35 | 2206952.13 | -1005192.88 |
| Story1 | UDStlS11 | Top | 278156.54 | 0 | -556.31 | -1927.29 | 2177441.62 | -963382.47 |
| Story1 | UDStlS11 | Bottom | 290373.42 | 0 | -580.75 | -2018.49 | 2210784.02 | -1009025.09 |
| Story1 | UDStlS12 | Top | 278156.54 | 0 | 556.31 | 1926.3 | 2172693.79 | -963383.61 |
| Story1 | UDStlS12 | Bottom | 290373.42 | 0 | 580.75 | 2017.75 | 2203118.81 | -1009026.48 |
| Story1 | UDStlS13 | Top | 279683.62 | -559.37 | 0 | 4354.74 | 2177519.85 | -969117.29 |
| Story1 | UDStlS13 | Bottom | 291900.49 | -583.8 | 0 | 4418.64 | 2209403.65 | -1016230.03 |
| Story1 | UDStlS14 | Top | 279683.62 | 559.37 | 0 | -4355.5 | 2177521 | -964086.97 |
| Story1 | UDStlS14 | Bottom | 291900.49 | 583.8 | 0 | -4419.17 | 2209405.14 | -1008264.41 |
| Story1 | UDStlS15 | Top | 279683.62 | 0 | -559.37 | -1933.63 | 2180036.21 | -966601.53 |
| Story1 | UDStlS15 | Bottom | 291900.49 | 0 | -583.8 | -2024.83 | 2213386.96 | -1012246.49 |
| Story1 | UDStlS16 | Top | 279683.62 | 0 | 559.37 | 1932.87 | 2175004.64 | -966602.73 |
| Story1 | UDStlS16 | Bottom | 291900.49 | 0 | 583.8 | 2024.31 | 2205421.83 | -1012247.95 |
| Story1 | UDStlS17 | Top | 279683.62 | -559.37 | 0 | 4354.74 | 2177519.85 | -969117.29 |
| Story1 | UDStlS17 | Bottom | 291900.49 | -583.8 | 0 | 4418.64 | 2209403.65 | -1016230.03 |
| Story1 | UDStlS18 | Top | 279683.62 | 559.37 | 0 | -4355.5 | 2177521 | -964086.97 |
| Story1 | UDStlS18 | Bottom | 291900.49 | 583.8 | 0 | -4419.17 | 2209405.14 | -1008264.41 |
| Story1 | UDStlS19 | Top | 279683.62 | 0 | -559.37 | -1933.63 | 2180036.21 | -966601.53 |
| Story1 | UDStlS19 | Bottom | 291900.49 | 0 | -583.8 | -2024.83 | 2213386.96 | -1012246.49 |
| Story1 | UDStlS20 | Top | 279683.62 | 0 | 559.37 | 1932.87 | 2175004.64 | -966602.73 |
| Story1 | UDStlS20 | Bottom | 291900.49 | 0 | 583.8 | 2024.31 | 2205421.83 | -1012247.95 |
| Story1 | UDStlS21 | Top | 260982.07 | -43677.57 | 0 | 321208.27 | 2043143.99 | -1155498.67 |
| Story1 | UDStlS21 | Bottom | 273198.94 | -43677.57 | 0 | 321208.78 | 2075012 | -1312885.81 |
| Story1 | UDStlS22 | Top | 260982.07 | 43677.57 | 0 | -321209.13 | 2043262.39 | -647179.84 |
| Story1 | UDStlS22 | Bottom | 273198.94 | 43677.57 | 0 | -321209.4 | 2075162.71 | -581083.9 |
| Story1 | UDStlS23 | Top | 260982.07 | 0 | -43677.57 | -149965.07 | 2297424.34 | -901276.63 |
| Story1 | UDStlS23 | Bottom | 273198.94 | 0 | -43677.57 | -149965.05 | 2440980.06 | -946910.93 |
| Story1 | UDStlS24 | Top | 260982.07 | 0 | 43677.57 | 149964.21 | 1788982.03 | -901401.88 |
| Story1 | UDStlS24 | Bottom | 273198.94 | 0 | 43677.57 | 149964.43 | 1709194.66 | -947058.77 |
| Story1 | UDStlS25 | Top | 177274.06 | -43677.57 | 0 | 321208.47 | 1389099.25 | -863097.8 |
| Story1 | UDStlS25 | Bottom | 186436.72 | -43677.57 | 0 | 321208.94 | 1412996.76 | -1009077.02 |
| Story1 | UDStlS26 | Top | 177274.06 | 43677.57 | 0 | -321208.93 | 1389217.64 | -354778.97 |
| Story1 | UDStlS26 | Bottom | 186436.72 | 43677.57 | 0 | -321209.24 | 1413147.47 | -277275.11 |
| Story1 | UDStlS27 | Top | 177274.06 | 0 | -43677.57 | -149964.87 | 1643379.6 | -608875.75 |
| Story1 | UDStlS27 | Bottom | 186436.72 | 0 | -43677.57 | -149964.89 | 1778964.81 | -643102.15 |
| Story1 | UDStlS28 | Top | 177274.06 | 0 | 43677.57 | 149964.41 | 1134937.29 | -609001.01 |
| Story1 | UDStlS28 | Bottom | 186436.72 | 0 | 43677.57 | 149964.59 | 1047179.41 | -643249.99 |
| Story1 | UDStlD1 | Top | 196971.18 | 0 | 0 | -0.26 | 1543509.39 | -676598.2 |
| Story1 | UDStlD1 | Bottom | 207151.91 | 0 | 0 | -0.17 | 1570080.13 | -714640.08 |
| Story1 | UDStlD2 | Top | 218916.18 | 0 | 0 | -0.38 | 1715313.13 | -756696.35 |
| Story1 | UDStlD2 | Bottom | 229096.91 | 0 | 0 | -0.28 | 1741883.18 | -794733.65 |